## Requirement
MINGKONG
EV charging site brief
Complete the yellow cells. | Unknown items may be left blank or marked TBC.
Required information | Your response | Unit / guidance
Project country / destination |  | Country and delivery destination
Site / application |  | Home, commercial parking, public charging or fleet
Vehicle types |  | Passenger cars, commercial vehicles or other
Connector standard |  | Required connector and vehicle compatibility
Charging points / sessions |  | Number of points and simultaneous sessions
AC / DC and power |  | Preferred equipment and kW per point
Vehicle dwell time / schedule |  | Typical parking time and daily charging needs
Input supply |  | Voltage, phases and frequency
Available electrical capacity |  | kVA or kW, if confirmed
Installation environment |  | Indoor / outdoor, temperature and other conditions
Mounting / cable routing |  | Wall, pedestal or other arrangement
Authentication / payment |  | Required access and payment functions
Platform / protocol |  | Platform name, protocol and version if specified
Network / load management |  | Connection and power-management requirements
Local specifications / documents |  | Project standards, records and language
Work responsibilities |  | Installation, commissioning and platform scope
Quantity / delivery timing |  | Units and requested date
Related files |  | Site plan, supply drawing and photographs
Contact name / company
Contact email
Return the completed file: | mkelecsolution.com/send-requirements/
Or email James: | mkjameshu@outlook.com